EEG Lab Protocol with VBS Controls
This setup is for VBS with fully blocked
So questions about the protocol?
- How do we do the equipment check?
- How do we measure the impedances of the electrodes?
- How do we test TTL synchronisation
- We should build the support for the finger
- For the moment there's no real code or protocol for the computer analysis check or for the control of EM interference
- There should be an easy way to remove the nipple

I. Experimental Setup - Step by Step
Before Starting - Equipment Check
1. EEG System Setup (30 minutes)
  1. Shut down all electronic devices
  2. Turn on research-grade EEG machine
  3. Apply 32 electrode cap on subject's head (based on APEEGE)
    1. Measure the distance from the nasion to occipital bone.
    2. Search the middle point where Cz should be
    3. Measure the distance for Fz on 30%
    4. Measure the distance for Pz on 70%
    5. Measure the distances between the preauricular point (just before the ear tubes)
    6. Search the middle point where Cz should be
    7. Control if C3 and C4 are on the 30 and 50 %

https://www.youtube.com/watch?v=oK26b0YrkXE
  1. Check the channel mapping if everything is right in the yama file:
CAP	FREEEEG32
site	CH
T7	CH01
C3	CH02
T8	CH05
FC4	CH06
FC3	CH09
C4	CH10
CP3	CH13
CP4	CH14
REF (CZ|CPZ)	REFERENCE
GND (FPZ|FZ)	VCM/Bias

Apply gel and pressure to the electrodes. Check if all electrode impedances are below 10 kΩ (ideal: below 5 kΩ)

1. Vibrotactile Stimulator (VBS) Setup
  1. Connect vibrotactile device to controller
  2. Test TTL trigger synchronization with EEG
  3. Vibration level on 10
  4. Prepare both contact and non-contact positions
2. Environment Preparation
  1. Use sound-attenuated room or booth (researchers should make no interfering movement or noise)
  2. Dim lighting for subject comfort
  3. Ensure subject is seated comfortably
  4. Close all the windows and doors
II. Experimental Procedure
Phase 1: Control (10 minutes)
Purpose: Check if the device itself causes EEG changes without touching the finger
Step 1: Device OFF Baseline (1 minute)
- Tell subject: "Please sit quietly with eyes open"
- Record EEG with VBS device completely OFF
Step 2: Device ON but NOT Touching (1 minute)
- Tell subject: "Please put your finger on the support device "
- Finger is resting on the support device
- Device is vibrating in air near the finger at 40 Hz
Step 3: Analysis Check (1 minute)
- Computer automatically compares:
  - EEG power when device OFF vs ON (no contact)
  - Looks for electromagnetic or audio contamination
- If significant contamination detected, you'll see a warning message
- Decision: Continue or troubleshoot based on results

Phase 2: Normal Resting Baseline (5 minutes)
Purpose: Record normal EEG with nipple actually touching the finger
Step 4: Device ON with Contact
Tell subject: "Please put your finger on the nipple "
- Record 1-minute eyes open
- This is your "normal operation" baseline

Phase 3: Nautral frequency stimulation (25 minutes per frequency)
Purpose: Neurostimulation with 40 Hz,80 Hz, 160 Hz, 320 Hz
Step 5: Neurostimulation with blocked protocol (20 minutes)
Subject just sits relaxed, no special task. Patients should remain contact so we use clamps on the triggers.

FOT (finger on the tractor ) (8m20s)
- Tell subject: "Please put your finger on the nipple "
- You set the vibration frequency to 40 Hz.
- You set the number of cycles to 50 and the duration of a cycle is 10s. (8m20)

2. IFNFN (Finger In Noise Field, Not Feeling Nipple) (8m20)
- We remove the nipple
- Tell subject: "Please put your finger on the case "
- You set the number of cycles to 50 and the duration of a cycle is 10s. (8m20)

Step 6: Quick Control Check (5 minutes)
- Briefly repeat the "device ON, no contact" test (30 seconds)
- Ensure no contamination has developed during testing

III. What the Computer is Checking For You
Contamination Detection
The system automatically monitors for:
1. Electromagnetic Interference
  1. Does EEG power increase when device is just near the finger?
  2. Are there new frequency peaks when device is ON?
  3. Is there increased line noise (50/60 Hz)?
2. Audio Contamination
  1. Can the brain "hear" the vibrations through air?
  2. Are there EEG patterns that match device sounds?
3. Vibration Transmission
  1. Are vibrations traveling through the chair or table?
  2. Is there mechanical coupling to EEG equipment?
Quality Metrics
Good Data:
- Signal-to-noise ratio > 3 dB
- Phase locking > 0.2
- No significant contamination
- Consistent results across trials
Questionable Data:
- Some contamination detected but below threshold
- Moderate signal quality
- May need interpretation caution
Poor Data:
- Significant contamination
- Low signal quality
- Should be re-run or excluded

IV. Troubleshooting - Common Issues
If Contamination is Detected:
1. Check grounding - Ensure proper equipment grounding
2. Increase distance - Move VBS further from EEG equipment
3. Add shielding - Use additional electromagnetic shielding
4. Use white noise - Mask potential audio contamination
If Signal Quality is Poor:
1. Check electrodes - Re-check impedances
2. Reduce movement - Ensure subject is still
3. Adjust intensity - Increase vibration amplitude slightly
4. Check connections - Verify all cables are secure

V. Output Files and Results
What Gets Saved:
1. Raw EEG data - All recordings in standard format
2. Control condition reports - Device OFF vs ON comparisons
3. Neurostimulation response - Response at each tested frequency

VI. Timeline Summary
Total Time: 45-65 minutes
- Setup: 30 minutes
- Control conditions: 10 minutes
- Resting baseline: 5 minutes
- Neurostimulation: 25 minutes
- Analysis: 5 minutes